## Slide 1: Introduction to I1DISP
River Examples
Lake Examples

## Slide 2: River Examples
Examples 3.1 – 3.3

## Slide 3: Example 3.1 - Summary
A = 20 m2 L = 3000 m u = 0.1 m/s
E = 0.0 m2/s x = 1000 m W = 0.1 kg/s
k = 10-4 s-1

## Slide 4: Example 3.1 – Analytical Solution

## Slide 5: Example 3.1 – I1DISP Solution

## Slide 6: Example 3.2 - Summary
A = 20 m2 L = 3000 m u = 0.1 m/s
E = 0.2 m2/s x = 1000 m W = 0.1 kg/s
k = 10-4 s-1

## Slide 7: Example 3.2 – Analytical Solution

## Slide 8: Example 3.2 – I1DISP Solution

## Slide 9: Examples 3.1 & 3.2: Comparison
Chart: x (m)
| 0 | 1000 | 2000 | 3000 | 4000
E = 0.0 m2/s | 0 | 25 | 12.5 | 6.25 | 0
E = 0.2 m2/s | 0 | 24.96 | 12.49 | 6.24 | 0
c (mg/L) | x (m) |  |  |  | 
 | 0 | 1000 | 2000 | 3000 | 4000
Example 3.1 | 0 | 25 | 12.5 | 6.25 | 0
Example 3.2 | 0 | 24.96 | 12.49 | 6.24 | 0

## Slide 10: Example 3.3 - Summary
A = 20 m2 L = 3000 m u = 0.1 m/s
E = 0.0 m2/s x = 1000 m W = 0.1 kg/s
k = 10-4 s-1

## Slide 11: Example 3.3 – Analytical Solution

## Slide 12: Example 3.3 – I1DISP Solution
?

## Slide 13: Lake Examples

## Slide 14: Example 1
A lake has the following characteristics:
Volume = 50,000 m3
Mean depth = 2 m
Inflow = outflow = 7500 m3 d-1
The lake receives the input of a pollutant from three sources: a factory discharge of 50 kg d-1, a flux from atmosphere of 0.6 g m-2 d-1, and the inflow stream that has a concentration of 10 mg L-1. If the pollutant decays at the rate of 0.25 d-1, determine the steady-state concentration.

## Slide 15: Example 1 – Analytical Solution

## Slide 16: Example 1 – I1DISP Solution

## Slide 17: Example 2
A pond with a single inflow stream has the following characteristics:
Mean depth = 3 m ; Surface area = 2  105 m2 ; Residence time = 2 weeks ; Inflow BOD = 4 mg L-1
A subdivision housing 1000 people will discharge raw sewage into this system. Each individual contributes about 150 gal capita-1 d-1 of wastewater and 0.25 lb capita-1 d-1 of BOD. If the BOD decays at a rate of 0.1 d-1 and settles at a rate of 0.1 m d-1, Determine the steady-state concentration for the lake with and without the subdivision.

## Slide 18: Example 2
Determine the steady-state concentration for the lake with and without the subdivision.

## Slide 19: Example 2 – Without Subdivision
Inflow BOD = 4 mg L-1  Cin = 0.004 kg/m3

## Slide 20: Example 2 – Without Subdivision

## Slide 21: Example 2 – With Subdivision

## Slide 22: Example 2 – I1DISP Without Sub

## Slide 23: Example 2 – I1DISP With Sub

## Slide 24: Thank you
Presented by
Assoc. Prof. Dr. Teh Su Yean | School of Mathematical Sciences